THE ENTHALPIES OF FORMATION OF SOME AMINOACIDS

T.S. Papina, V.A. Lukyanova, A.A. Gimadeev*, E.V. Sagadeev*

Lomonossov Moscow State University, Russia.

Chemistry Department, Moscow State University, 119991 Moscow, Russia. papina@phys.chem.msu.ru

*Kazan State Technological University, 420015, 68 K. Marx str. Kazan, Russia.

Some information about thermodynamic properties of different aminoacids is available in literature, but it is based in most cases on ancient or unreliable experimental data. Meanwhile, a limited number of safe key values would give an opportunity to create a scheme for calculating thermodynamic properties of large amount of substances of this class.

In the present work the standard enthalpies of two aminoacids were determined by bomb calorimetry. L-tyrosine C9H11O3N and l-arginine C6H14O2N4 were supplied by Sigma-Aldrich. According to the certificate of analysis, both substances had purity 100.0% and contained only tiny amounts of admixtures.

Energy of combustion measurements were made in an isoperibolic calorimeter with a self-sealing steel bomb. The temperature rise was measured with a copper resistance thermometer and a bridge circuit. Tablets of samples having mass about 0.3 g were placed into containers of polyester film and hermetically sealed. They were burnt together with an auxiliary material (benzoic acid) under the pressure of oxygen 2.0 MPa; the heat of combustion of aminoacids was about 50 per cent of the total evolved heat. The products of combustion were analysed for CO2 and HNO3; correction for HNO3 formation was introduced. Obtained values of combustion energy corresponded to final products CO2, H2O and N2. The results of determination of energy of combustion ((cU0) and derived quantities: the enthalpy of combustion ((cH0) and the enthalpy of formation ((fH0) are presented in the table (in kJ/mol).

Experimental results of the present work and literary data

| Compound | ((cU0 | ((cH0 | ((fH0 | ((fH0 (literary data) |
| --- | --- | --- | --- | --- |
| L-tyrosine(cr) | 4430.0±1.5 | 4431.8±1.5 | 681.8±1.9 | 685.4±1.4[1] | 693.9±7.0[2] |
| L-arginine(cr) | 3739.5±1.5 | 3740.7±1.5 | 621.2±1.9 |  | 637.7±7.9[2] |

REFERENCES

[1] H.M. Huffman, S.W. Fox, E.L. Ellis. J. Am. Chem. Soc. 59 (1937) 2144.

[2] X.W. Yang, J.R. Liu, S.L. Gao et al. Thermochim. Acta 329 (1999) 109.